## Summary
Cold Drink and Snack Vending Machine Energy Conservation Project
Input Variables
Energy Analysis Prepared For: |  | Energy Costs ($0.000 per kwh) |  |  | 0.065
|  | Facility Occupied Hours per Week |  |  | 70
Your company name here |  | Number of Cold Drink Vending Machines |  |  | 100
Questions? Call 877-766-5412 |  | Number of Uncooled Snack Machines |  |  | 10
www.VendingMiserStore.com |  | Power Requirements of Cold Drink Machine (avg watts) |  |  | 427
|  | Power Requirements of Snack Machine (avg watts) |  |  | 100
|  | VendingMiser Sale Price (for cold drink machines) |  |  | 179
|  | OfficeMiser Sale Price (for snack machines) |  |  | 79
Savings Analysis
| Before | After
Cold Drink Machines | 24330.033 | 12543.4097 | Cost of Operation
| 374308.2 | 192975.5333 | kWh
|  | 48.44% | % Energy Savings
Snack Machines | 567.84 | 236.6 | Cost of Operation
| 8736 | 3640 | kWh
|  | 58.33% | % Energy Savings
Project Summary
Present kWh | Projected kWh | kWh Savings per Year
383044.2 | 196615.5333 | 186428.6667
Present Cost | Projected Costs | Annual Savings | Per Cent Savings | Total Project Cost | Break Even (Months)
24897.873 | 12780.0097 | 12117.8633 | 48.67% | 18690 | 18.5082
|  |  | Five Year Savings on 110 Machines = | 60589.3167
|  |  | Five Year Return on Investment = | 224.2%
Version 1.0
Source Data for Generating Chart
| Year 1 | Year 2 | Year 3 | Year 4 | Year 5
Cost With Miser | 12780.0097 | 25560.0193 | 38340.029 | 51120.0387 | 63900.0483
Cost Without Misers | 24897.873 | 49795.746 | 74693.619 | 99591.492 | 124489.365
Total Number of machines | 110
Note on F4: Enter the average kWh cost here
Note on F5: Enter average occupied hours. Typically this is 60- 80 for a commercial environment, but if savings measurements have already been taken, change these hours until the % Energy Savings matches those recorded
Note on F6: Enter the number of refrigerated machines - include any refrigerated candy machines. NO PRESIHABLE GOODS MACHINES (i.e. Ice Cream, Sandwiches, etc.)
Note on F7: Enter the number of non-cooled machines
Note on F8: Enter average power consumption of cooled machine. Measured average for machines with lights is 427 watts - for machines without lights the average is 233 watts
Note on F9: Enter the power consumption of the non-cooled machines. Typical average is 80 - 100 watts.
Note on F10: Enter the sales price of the VendingMiser
Note on F11: Enter the sales price of the OfficeMiser

## VM Analysis (hidden)
Data Entry
Category | #Machines | POH's/Mch/WK | Occupied Hrs/Wk | Hrs Auto Pwr On/Wk
I | 100 | 168 | 70 | 16.3333
II |  |  |  | 0
III |  |  |  | 0
Total Machines | 100
% Savings: | 48.61%
Energy Costs ($0.000 per kwh) |  |  | 0.065
K Factor of Air Conditioner (1.0 - 3.0) |  |  | 2
Air Conditioning weeks/year (0-52) |  |  | 2
Air Conditioning hrs/week (0-168) |  |  | 30
Time Between Auto Repower (hours) |  |  | 2
Duration of Auto Repower (hours) |  |  | 0.4
Power Requirements of Machine (avg-amps) |  |  | 3.5583
Effective VendingMiser Price |  |  | 179
1 Year Financial Analysis
Payback in Months |  | 18.2281
Net 1 Year Savings |  | -6115.9911
Return on Investment |  | 65.83%
VendingMiser Energy Analysis
Release 8.3
Energy Analysis Prepared For:
Environmental Variables
| Bill Baker |  |  |  | Energy Costs ($0.000 per kwh) |  |  | 0.065
| RIT |  |  |  | Automatic Repower Event (Hours) |  |  | 2
| Rochester, NY |  |  |  | Time Duration of Automatic Repower (Hours) |  |  | 0.4
[5 empty] | K Factor of Air Conditioner (1.0 - 3.0) |  |  | 2
[5 empty] | Air Conditioning weeks/year (0-52) |  |  | 2
[5 empty] | Air Conditioning hrs/week (45-168) |  |  | 30
[5 empty] | Power Requirements of Machine (avg-amps) |  |  | 3.5583
| Vending Machine Usage - Category I |  |  |  |  | Yearly Energy Analysis - Category I
| Installed Base of Vending Machine |  |  | 100 | 100 | Present Energy Costs |  | 24330.033
| Power-on hours per week |  |  | 168 |  | Projected Energy Costs |  | 12543.4097
| Estimated Occupied hours per week |  |  | 70 |  | Projected Energy Cost Savings |  | 11786.6233
| Estimated Additional Auto On Hours per Week |  |  | 16.3333
| Vending Machine Usage - Category II |  |  |  |  | Yearly Energy Analysis - Category II
| Installed Base of Vending Machine |  |  | 0 | 0 | Present Energy Costs |  | 0
| Power-on hours per week |  |  | 0 |  | Projected Energy Costs |  | 0
| Estimated Occupied hours per week |  |  | 0 |  | Projected Energy Cost Savings |  | 0
| Estimated Additional Auto On Hours per Week |  |  | 0
| Vending Machine Usage - Category III |  |  |  |  | Yearly Energy Analysis - Category III
| Installed Base of Vending Machine |  |  | 0 | 0 | Present Energy Costs |  | 0
| Power-on hours per week |  |  | 0 |  | Projected Energy Costs |  | 0
| Estimated Occupied hours per week |  |  | 0 |  | Projected Energy Cost Savings |  | 0
| Estimated Additional Auto On Hours per Week |  |  | 0
Yearly Energy Analysis - All Vending Machines
| 1 Year Financial Analysis |  |  |  |  | Present Energy Costs/Yr |  | 24330.033
| Payback in Months |  | 18.2281 |  |  | Projected Energy Costs/Yr |  | 12543.4097
| Net 1 Year Savings |  | -6115.9911 |  |  | VendingMiser's Energy Costs/Yr |  | 2.6144
| Return on Investment |  | 65.83% |  |  | Total Energy Cost Savings/Yr |  | 11784.0089
[6 empty] | Energy Cost Savings per Machine/Yr |  | 117.8401
| 2 Year Financial Analysis |  |  |  |  | Total Percent Energy Savings |  | 48.61%
| Net 2 Year Savings |  | 5668.0178
| Return on Investment |  | 131.7% |  |  |  | Summary
[6 empty] | Installed Base of Vending Machines |  | 100
| 3 Year Financial Analysis |  |  |  |  | Sales Price of VendingMiser |  | #REF!
| Net 3 Year Savings |  | 17452.0267 |  |  | Corporate Tax Rate |  | #REF!
| Return on Investment |  | 197.5% |  |  | Effective Cost of VendingMiser |  | 179
[6 empty] | Total Investment |  | 17900
[6 empty] | Yearly Energy Cost per Miser |  | 0.026144
Calculations of Present Energy Cost (Before VendingMiser)
Calculate Primary Power Usage per Machine = Voltage x Current | [6 empty] | Calculate A/C Power Usage per Machine = Primary Power Usage/K
Voltage |  | 120 | volts |  |  |  | Primary Power Usage |  | 427 | watts
Current |  | 3.5583 | amps |  |  |  | K Factor of Air Conditioning |  | 2
Primary Power Usage |  | 427 | watts |  |  |  | A/C Power Usage |  | 213.5 | watts
Yearly Energy Analysis - Category I
Calculate Yearly Power On Hours per Machine = 52*(POH/week) | [5 empty] | Calculate Yearly POH of A/C = A/C hrs/week*A/C weeks/year
Primary POH/Yr |  | 8736 | hrs |  |  | A/C POH/Yr | 60 | hrs
Calculate Yearly Primary Energy Usage per Machine = Power Usage per Machine * Yearly POH/1000 | [5 empty] | Calculate Yearly A/C Energy Usage Required for each Machine = Power x POH/1000
Primary Energy/Yr |  | 3730.272 | kw hrs |  |  | A/C Energy/Yr | 12.81 | kw hrs
Calculate Present Total Energy Usage = (Primary Energy + A/C Energy)*Number of Machines
Present Total Energy Usage |  | 374308.2 | kw hrs
Calculate Present Total Energy Cost = Present Total Energy Usage* Energy Costs | [6 empty] | Enter Results in "Present Energy Cost" Cell - Category I
Present Total Energy Costs |  | 24330.033
Yearly Energy Analysis - Category II
Calculate Yearly Power On Hours per Machine = 52*(POH/week) | [5 empty] | Calculate Yearly POH of A/C = A/C hrs/week*A/C weeks/year
Primary POH/Yr |  | 0 | hrs |  |  | A/C POH/Yr | 0 | hrs
Calculate Yearly Primary Energy Usage per Machine = Power Usage per Machine * Yearly POH/1000 | [5 empty] | Calculate Yearly A/C Energy Usage Required for each Machine = Power x POH/1000
Primary Energy/Yr |  | 0 | kw hrs |  |  | A/C Energy/Yr | 0 | kw hrs
Calculate Present Total Energy Usage = (Primary Energy + A/C Energy)*Number of Machines
Present Total Energy Usage |  | 0 | kw hrs
Calculate Present Total Energy Cost = Present Total Energy Usage* Energy Costs | [6 empty] | Enter Results in "Present Energy Cost" Cell - Category II
Present Total Energy Costs |  | 0
Yearly Energy Analysis - Category III
Calculate Yearly Power On Hours per Machine = 52*(POH/week) | [5 empty] | Calculate Yearly POH of A/C = A/C hrs/week*A/C weeks/year
Primary POH/Yr |  | 0 | hrs |  |  | A/C POH/Yr | 0 | hrs
Calculate Yearly Primary Energy Usage per Machine = Power Usage per Machine * Yearly POH/1000 | [5 empty] | Calculate Yearly A/C Energy Usage Required for each Machine = Power x POH/1000
Primary Energy/Yr |  | 0 | kw hrs |  |  | A/C Energy/Yr | 0 | kw hrs
Calculate Present Total Energy Usage = (Primary Energy + A/C Energy)*Number of Machines
Present Total Energy Usage |  | 0 | kw hrs
Calculate Present Total Energy Cost = Present Total Energy Usage* Energy Costs | [6 empty] | Enter Results in "Present Energy Cost" Cell - Category III
Present Total Energy Costs |  | 0
Calculations of Projected Energy Cost (After VendingMiser)
Calculate Primary Power Usage per Machine = Voltage x Current | [6 empty] | Calculate A/C Power Usage per Machine = Primary Power Usage/K
Voltage |  | 120 | volts |  |  |  | Primary Power Usage |  | 427 | watts
Current |  | 3.5583 | amps |  |  |  | K Factor of Air Conditioning |  | 2
Primary Power Usage |  | 427 | watts |  |  |  | A/C Power Usage |  | 213.5 | watts
Yearly Energy Analysis - Category I
Calculate Yearly Power On Hours per Machine = 52*(Est Usage Hrs/Week) + Est Auto Pwr On Hours | [5 empty] | Calculate Yearly Power On Hours of A/C = Est Usage Hrs/Wk*AC Usage weeks/year
Primary POH/Yr |  | 4489.3333 | hrs |  |  | A/C POH/Yr | 60 | hrs
Calculate Yearly Primary Energy Usage per Machine = Power Usage per Machine * Yearly POH/1000 | [5 empty] | Calculate Yearly AC Energy Usage Required for each Machine = Power x POH/1000
Primary Energy/Yr |  | 1916.9453 | kw hrs |  |  | A/C Energy/Yr | 12.81 | kw hrs
Calculate Projected Total Energy Usage = (Primary Energy + A/C Energy)*Number of Machines
Projected Total Energy Usage |  | 192975.5333 | kw hrs
Calculate Projected Total Energy Cost = Projected Total Energy Usage* Energy Costs | [6 empty] | Enter Results in "Projected Energy Cost" Cell - Category I
Projected Total Energy Cost |  | 12543.4097
Yearly Energy Analysis - Category II
Calculate Yearly Power On Hours per Machine = 52*(Est Usage Hrs/Week) + Est Auto Pwr On Hours | [5 empty] | Calculate Yearly Power On Hours of A/C = Est Usage Hrs/Wk*AC Usage weeks/year
Primary POH/Yr |  | 0 | hrs |  |  | A/C POH/Yr | 0 | hrs
Calculate Yearly Primary Energy Usage per Machine = Power Usage per Machine * Yearly POH/1000 | [5 empty] | Calculate Yearly AC Energy Usage Required for each Machine = Power x POH/1000
Primary Energy/Yr |  | 0 | kw hrs |  |  | A/C Energy/Yr | 0 | kw hrs
Calculate Projected Total Energy Usage = (Primary Energy + A/C Energy)*Number of Machines
Projected Total Energy Usage |  | 0 | kw hrs
Calculate Projected Total Energy Cost = Projected Total Energy Usage* Energy Costs | [6 empty] | Enter Results in "Projected Energy Cost" Cell - Category II
Projected Total Energy Cost |  | 0
Yearly Energy Analysis - Category III
Calculate Yearly Power On Hours per Machine = 52*(Est Usage Hrs/Week) + Est Auto Pwr On Hours | [5 empty] | Calculate Yearly Power On Hours of A/C = Est Usage Hrs/Wk*AC Usage weeks/year
Primary POH/Yr |  | 0 | hrs |  |  | A/C POH/Yr | 0 | hrs
Calculate Yearly Primary Energy Usage per Machine = Power Usage per Machine * Yearly POH/1000 | [5 empty] | Calculate Yearly AC Energy Usage Required for each Machine = Power x POH/1000
Primary Energy/Yr |  | 0 | kw hrs |  |  | A/C Energy/Yr | 0 | kw hrs
Calculate Projected Total Energy Usage = (Primary Energy + A/C Energy)*Number of Machines
Projected Total Energy Usage |  | 0 | kw hrs
Calculate Projected Total Energy Cost = Projected Total Energy Usage* Energy Costs | [6 empty] | Enter Results in "Projected Energy Cost" Cell - Category III
Projected Total Energy Cost |  | 0
Calculations of VendingMiser Energy Cost
Calculate Power Usage of Miser when Machine is On = Voltage x Current | [5 empty] | Calculate Power Usage of Miser when Machine is Off = Voltage x Current
Voltage |  | 5 | volts |  |  | Voltage |  | 5 | volts
Current |  | 0.02 | amps |  |  | Current |  | 0.0015 | amps
Miser Power Usage |  | 0.1 | watts |  |  | Miser Power Usage |  | 0.0075 | watts
VendingMiser Energy Usage - Category I
Calculate Yearly Power On Hours of Miser = 52*(Usage/week) | [5 empty] | Calculate Yearly Power Off Hours (POFH) of Miser = 52*(POH/week-Usage/week)
Miser Power On Hours/Yr |  | 3640 | hrs |  |  | Miser Power Off Hrs/Yr |  | 5096 | hrs
Calculate Yearly Energy Usage = Power Usage of Miser (On) * Yearly POH/1000 | [5 empty] | Calculate Yearly Energy Usage = Power Usage of Miser(Off) * Yearly POFH/1000
Miser Energy/Yr |  | 0.364 | kw hrs |  |  | Miser Energy/Yr |  | 0.03822 | kw hrs
Calculate Yearly Energy Usage = (Miser Energy Usage - On + Miser Energy Usage - Off)*Number of Machines
Total Miser Energy Usage |  | 40.222 | kw hrs
Calculate Yearly Miser Energy Cost = Yearly Miser Energy Usage* Energy Costs
Total Miser Energy Cost |  | 2.6144
VendingMiser Energy Usage - Category II
Calculate Yearly Power On Hours of Miser = 52*(Usage/week) | [5 empty] | Calculate Yearly Power Off Hours (POFH) of Miser = 52*(POH/week-Usage/week)
Miser Power On Hours/Yr |  | 0 | hrs |  |  | Miser Power Off Hrs/Yr |  | 0 | hrs
Calculate Yearly Energy Usage = Power Usage of Miser (On) * Yearly POH/1000 | [5 empty] | Calculate Yearly Energy Usage = Power Usage of Miser(Off) * Yearly POFH/1000
Miser Energy/Yr |  | 0 | kw hrs |  |  | Miser Energy/Yr |  | 0 | kw hrs
Calculate Yearly Energy Usage = (Miser Energy Usage - On + Miser Energy Usage - Off)*Number of Machines
Total Miser Energy Usage |  | 0 | kw hrs
Calculate Yearly Miser Energy Cost = Yearly Miser Energy Usage* Energy Costs
Total Miser Energy Cost |  | 0
VendingMiser Energy Usage - Category III
Calculate Yearly Power On Hours of Miser = 52*(Usage/week) | [5 empty] | Calculate Yearly Power Off Hours (POFH) of Miser = 52*(POH/week-Usage/week)
Miser Power On Hours/Yr |  | 0 | hrs |  |  | Miser Power Off Hrs/Yr |  | 0 | hrs
Calculate Yearly Energy Usage = Power Usage of Miser (On) * Yearly POH/1000 | [5 empty] | Calculate Yearly Energy Usage = Power Usage of Miser(Off) * Yearly POFH/1000
Miser Energy/Yr |  | 0 | kw hrs |  |  | Miser Energy/Yr |  | 0 | kw hrs
Calculate Yearly Energy Usage = (Miser Energy Usage - On + Miser Energy Usage - Off)*Number of Machines
Total Miser Energy Usage |  | 0 | kw hrs
Calculate Yearly Miser Energy Cost = Yearly Miser Energy Usage* Energy Costs
Total Miser Energy Cost |  | 0
Calculations of Yearly Energy Analysis - All Machines
Calculate Present Energy Costs for All Machines = Sum of Present Total Energy Costs for Categories I, II & III
Present Energy Costs - All Machines |  |  | 24330.033 |  |  |  | Enter Results in "Present Energy Costs/Yr" Cell
Calculate Projected Energy Costs for All Machine = Sum of Projected Total Energy Costs for Categories I, II & III
Projected Energy Costs - All Machines |  |  | 12543.4097 |  |  |  | Enter Results in "Projected Energy Costs/Yr" Cell
Calculate Miser Energy Costs for All Machines = Sum of Miser Energy Costs for Categories I, II & III
Machine Miser Energy Costs - All Machines |  |  | 2.6144 |  |  |  | Enter Results in "Machine Miser Energy Costs/Yr" Cell
Calculate Total kWh Savings = Present kWh - (Projected kWh + Miser kWh)
Total kWh Savings |  |  | 181332.6667 |  |  |  | Enter Results in " Total kWh Savings/Yr" Cell
Calculate Total Energy Cost Savings = Present Energy Costs - (Projected Energy Costs + Miser Energy Costs)
Total Energy Cost Savings |  |  | 11784.0089 |  |  |  | Enter Results in " Total Energy Cost Savings/Yr" Cell
Calculate Energy Cost Savings per Machine = Total Energy Cost Savings/Number of Machines
Energy Cost Savings per Machine |  |  | 117.8401 |  |  |  | Enter Results in "Energy Cost Savings per Machine/Yr" Cell
Calculation of Financial Analysis
1 Year Final Analysis
Calculate Payback in Months = (Total Investment /Total Energy Cost Savings)*12
Payback in Months |  | 18.2281
Calculate Net 1 Year Savings = Total Energy Cost Savings (for 1 Year) - Investment | [6 empty] | Enter Results in "1 Year Financial Analysis" Cell
Net 1 Year Savings |  | -6115.9911
Calculate return on Investment = Total Energy Cost Savings (for 1 Year)/Investment
Return on Investment |  | 65.83%
2 Year Final Analysis
Calculate Net 2 Year Savings = Total Energy Cost Savings (for 1 Year) * 2 - Investment
Net 2 Year Savings |  | 5668.0178 |  |  |  |  | Enter Results in "2 Year Financial Analysis" Cell
Calculate return on Investment = Total Energy Cost Savings (for 1 Year)*2/Investment
Return on Investment |  | 131.7%
3 Year Final Analysis
Calculate Net 3 Year Savings = Total Energy Cost Savings (for 1 Year)*3 - Investment
Net 3 Year Savings |  | 17452.0267 |  |  |  |  | Enter Results in "3 Year Financial Analysis" Cell
Calculate return on Investment = Total Energy Cost Savings (for 1 Year)*3/Investment
Return on Investment |  | 197.5%

## OM Analysis (hidden)
Data Entry
Category | #Offices | POH's/OFC/WK | Occupied Hrs/Wk
I | 10 | 168 | 70
II
III
Total Offices | 10
Energy Costs ($0.000 per kwh) |  |  | 0.065
K Factor of Air Conditioner (1.0 - 3.0) |  |  | 2
Air Conditioning weeks/year (0-52) |  |  | 0
Air Conditioning hrs/week (45-168) |  |  | 0
Power Requirements of Office (avg-amps) |  |  | 0.83333
Effective OfficeMiser Price |  |  | 79
1 Year Financial Analysis
Payback in Months |  | 28.6423
Net 1 Year Savings |  | -459.0214
Return on Investment |  | 41.9%
OfficeMiser Energy Analysis
Release 7.16
Energy Analysis Prepared For:
Environmental Variables
| Bill Baker |  |  |  | Energy Costs ($0.000 per kwh) |  |  | 0.065
| RIT |  |  |  | K Factor of Air Conditioner (1.0 - 3.0) |  |  | 2
| Rochester, NY |  |  |  | Air Conditioning weeks/year (0-52) |  |  | 0
[5 empty] | Air Conditioning hrs/week (45-168) |  |  | 0
[5 empty] | Power Requirements of Office (avg-amps) |  |  | 0.83333
| Office Usage - Category I |  |  |  |  | Yearly Energy Analysis - Category I
| Installed Base of Offices |  |  | 10 | 10 | Present Energy Costs |  | 567.84
| Power-on hours per week |  |  | 168 |  | Projected Energy Costs |  | 236.6
| Estimated Occupied hours per week |  |  | 70 |  | Projected Energy Cost Savings |  | 331.24
| Office Usage - Category II |  |  |  |  | Yearly Energy Analysis - Category II
| Installed Base of Offices |  |  | 0 | 0 | Present Energy Costs |  | 0
| Power-on hours per week |  |  | 0 |  | Projected Energy Costs |  | 0
| Estimated Occupied hours per week |  |  | 0 |  | Projected Energy Cost Savings |  | 0
| Office Usage - Category III |  |  |  |  | Yearly Energy Analysis - Category III
| Installed Base of Offices |  |  | 0 | 0 | Present Energy Costs |  | 0
| Power-on hours per week |  |  | 0 |  | Projected Energy Costs |  | 0
| Estimated Occupied hours per week |  |  | 0 |  | Projected Energy Cost Savings |  | 0
Yearly Energy Analysis - All Offices
| 1 Year Financial Analysis |  |  |  |  | Present Energy Costs/Yr |  | 567.84
| Payback in Months |  | 28.6423 |  |  | Projected Energy Costs/Yr |  | 236.6
| Net 1 Year Savings |  | -459.0214 |  |  | OfficeMiser's Energy Costs/Yr |  | 0.26144
| Return on Investment |  | 41.9% |  |  | Total Energy Cost Savings/Yr |  | 330.9786
[6 empty] | Energy Cost Savings per Office/Yr |  | 33.0979
2 Year Financial Analysis
| Net 2 Year Savings |  | -128.0429 |  |  |  | Summary
| Return on Investment |  | 83.79% |  |  | Installed Base of Offices |  | 10
[6 empty] | Sales Price of OfficeMiser |  | #REF!
| 3 Year Financial Analysis |  |  |  |  | Corporate Tax Rate |  | #REF!
| Net 3 Year Savings |  | 202.9357 |  |  | Effective Cost of OfficeMiser |  | 79
| Return on Investment |  | 125.7% |  |  | Total Investment |  | 790
[6 empty] | Yearly Energy Cost per Miser |  | 0.026144
Calculations of Present Energy Cost (Before MonitorMiser Plus)
Calculate Primary Power Usage per Monitor = Voltage x Current | [6 empty] | Calculate A/C Power Usage per Monitor = Primary Power Usage/K
Voltage |  | 120 | volts |  |  |  | Primary Power Usage |  | 100 | watts
Current |  | 0.83333 | amps |  |  |  | K Factor of Air Conditioning |  | 2
Primary Power Usage |  | 100 | watts |  |  |  | A/C Power Usage |  | 50 | watts
Yearly Energy Analysis - Category I
Calculate Yearly Power On Hours per Monitor = 52*(POH/week) | [5 empty] | Calculate Yearly POH of A/C = A/C hrs/week*A/C weeks/year
Primary POH/Yr |  | 8736 | hrs |  |  | A/C POH/Yr | 0 | hrs
Calculate Yearly Primary Energy Usage per Monitor = Power Usage per Monitor * Yearly POH/1000 | [5 empty] | Calculate Yearly A/C Energy Usage Required for each Monitor = Power x POH/1000
Primary Energy/Yr |  | 873.6 | kw hrs |  |  | A/C Energy/Yr | 0 | kw hrs
Calculate Present Total Energy Usage = (Primary Energy + A/C Energy)*Number of Monitors
Present Total Energy Usage |  | 8736 | kw hrs
Calculate Present Total Energy Cost = Present Total Energy Usage* Energy Costs | [6 empty] | Enter Results in "Present Energy Cost" Cell - Category I
Present Total Energy Costs |  | 567.84
Yearly Energy Analysis - Category II
Calculate Yearly Power On Hours per Monitor = 52*(POH/week) | [5 empty] | Calculate Yearly POH of A/C = A/C hrs/week*A/C weeks/year
Primary POH/Yr |  | 0 | hrs |  |  | A/C POH/Yr | 0 | hrs
Calculate Yearly Primary Energy Usage per Monitor = Power Usage per Monitor * Yearly POH/1000 | [5 empty] | Calculate Yearly A/C Energy Usage Required for each Monitor = Power x POH/1000
Primary Energy/Yr |  | 0 | kw hrs |  |  | A/C Energy/Yr | 0 | kw hrs
Calculate Present Total Energy Usage = (Primary Energy + A/C Energy)*Number of Monitors
Present Total Energy Usage |  | 0 | kw hrs
Calculate Present Total Energy Cost = Present Total Energy Usage* Energy Costs | [6 empty] | Enter Results in "Present Energy Cost" Cell - Category II
Present Total Energy Costs |  | 0
Yearly Energy Analysis - Category III
Calculate Yearly Power On Hours per Monitor = 52*(POH/week) | [5 empty] | Calculate Yearly POH of A/C = A/C hrs/week*A/C weeks/year
Primary POH/Yr |  | 0 | hrs |  |  | A/C POH/Yr | 0 | hrs
Calculate Yearly Primary Energy Usage per Monitor = Power Usage per Monitor * Yearly POH/1000 | [5 empty] | Calculate Yearly A/C Energy Usage Required for each Monitor = Power x POH/1000
Primary Energy/Yr |  | 0 | kw hrs |  |  | A/C Energy/Yr | 0 | kw hrs
Calculate Present Total Energy Usage = (Primary Energy + A/C Energy)*Number of Monitors
Present Total Energy Usage |  | 0 | kw hrs
Calculate Present Total Energy Cost = Present Total Energy Usage* Energy Costs | [6 empty] | Enter Results in "Present Energy Cost" Cell - Category III
Present Total Energy Costs |  | 0
Calculations of Projected Energy Cost (After MonitorMiser Plus)
Calculate Primary Power Usage per Monitor = Voltage x Current | [6 empty] | Calculate A/C Power Usage per Monitor = Primary Power Usage/K
Voltage |  | 120 | volts |  |  |  | Primary Power Usage |  | 100 | watts
Current |  | 0.83333 | amps |  |  |  | K Factor of Air Conditioning |  | 2
Primary Power Usage |  | 100 | watts |  |  |  | A/C Power Usage |  | 50 | watts
Yearly Energy Analysis - Category I
Calculate Yearly Power On Hours per Monitor = 52*(Estimated Usage Hrs/Week)) | [5 empty] | Calculate Yearly Power On Hours of A/C = Est Usage Hrs/Wk*AC Usage weeks/year
Primary POH/Yr |  | 3640 | hrs |  |  | A/C POH/Yr | 0 | hrs
Calculate Yearly Primary Energy Usage per Monitor = Power Usage per Monitor * Yearly POH/1000 | [5 empty] | Calculate Yearly AC Energy Usage Required for each Monitor = Power x POH/1000
Primary Energy/Yr |  | 364 | kw hrs |  |  | A/C Energy/Yr | 0 | kw hrs
Calculate Projected Total Energy Usage = (Primary Energy + A/C Energy)*Number of Monitors
Projected Total Energy Usage |  | 3640 | kw hrs
Calculate Projected Total Energy Cost = Projected Total Energy Usage* Energy Costs | [6 empty] | Enter Results in "Projected Energy Cost" Cell - Category I
Projected Total Energy Cost |  | 236.6
Yearly Energy Analysis - Category II
Calculate Yearly Power On Hours per Monitor = 52*(Estimated Usage Hrs/Week)) | [5 empty] | Calculate Yearly Power On Hours of A/C = Est Usage Hrs/Wk*AC Usage weeks/year
Primary POH/Yr |  | 0 | hrs |  |  | A/C POH/Yr | 0 | hrs
Calculate Yearly Primary Energy Usage per Monitor = Power Usage per Monitor * Yearly POH/1000 | [5 empty] | Calculate Yearly AC Energy Usage Required for each Monitor = Power x POH/1000
Primary Energy/Yr |  | 0 | kw hrs |  |  | A/C Energy/Yr | 0 | kw hrs
Calculate Projected Total Energy Usage = (Primary Energy + A/C Energy)*Number of Monitors
Projected Total Energy Usage |  | 0 | kw hrs
Calculate Projected Total Energy Cost = Projected Total Energy Usage* Energy Costs | [6 empty] | Enter Results in "Projected Energy Cost" Cell - Category II
Projected Total Energy Cost |  | 0
Yearly Energy Analysis - Category III
Calculate Yearly Power On Hours per Monitor = 52*(Estimated Usage Hrs/Week)) | [5 empty] | Calculate Yearly Power On Hours of A/C = Est Usage Hrs/Wk*AC Usage weeks/year
Primary POH/Yr |  | 0 | hrs |  |  | A/C POH/Yr | 0 | hrs
Calculate Yearly Primary Energy Usage per Monitor = Power Usage per Monitor * Yearly POH/1000 | [5 empty] | Calculate Yearly AC Energy Usage Required for each Monitor = Power x POH/1000
Primary Energy/Yr |  | 0 | kw hrs |  |  | A/C Energy/Yr | 0 | kw hrs
Calculate Projected Total Energy Usage = (Primary Energy + A/C Energy)*Number of Monitors
Projected Total Energy Usage |  | 0 | kw hrs
Calculate Projected Total Energy Cost = Projected Total Energy Usage* Energy Costs | [6 empty] | Enter Results in "Projected Energy Cost" Cell - Category III
Projected Total Energy Cost |  | 0
Calculations of MonitorMiser Plus Energy Cost
Calculate Power Usage of Miser when Monitor is On = Voltage x Current | [5 empty] | Calculate Power Usage of Miser when Monitor is Off = Voltage x Current
Voltage |  | 5 | volts |  |  | Voltage |  | 5 | volts
Current |  | 0.02 | amps |  |  | Current |  | 0.0015 | amps
Miser Power Usage |  | 0.1 | watts |  |  | Miser Power Usage |  | 0.0075 | watts
Monitor Miser Energy Usage - Category I
Calculate Yearly Power On Hours of Miser = 52*(Usage/week) | [5 empty] | Calculate Yearly Power Off Hours (POFH) of Miser = 52*(POH/week-Usage/week)
Miser Power On Hours/Yr |  | 3640 | hrs |  |  | Miser Power Off Hrs/Yr |  | 5096 | hrs
Calculate Yearly Energy Usage = Power Usage of Miser (On) * Yearly POH/1000 | [5 empty] | Calculate Yearly Energy Usage = Power Usage of Miser(Off) * Yearly POFH/1000
Miser Energy/Yr |  | 0.364 | kw hrs |  |  | Miser Energy/Yr |  | 0.03822 | kw hrs
Calculate Yearly Energy Usage = (Miser Energy Usage - On + Miser Energy Usage - Off)*Number of Monitors
Total Miser Energy Usage |  | 4.0222 | kw hrs
Calculate Yearly Miser Energy Cost = Yearly Miser Energy Usage* Energy Costs
Total Miser Energy Cost |  | 0.26144
Monitor Miser Energy Usage - Category II
Calculate Yearly Power On Hours of Miser = 52*(Usage/week) | [5 empty] | Calculate Yearly Power Off Hours (POFH) of Miser = 52*(POH/week-Usage/week)
Miser Power On Hours/Yr |  | 0 | hrs |  |  | Miser Power Off Hrs/Yr |  | 0 | hrs
Calculate Yearly Energy Usage = Power Usage of Miser (On) * Yearly POH/1000 | [5 empty] | Calculate Yearly Energy Usage = Power Usage of Miser(Off) * Yearly POFH/1000
Miser Energy/Yr |  | 0 | kw hrs |  |  | Miser Energy/Yr |  | 0 | kw hrs
Calculate Yearly Energy Usage = (Miser Energy Usage - On + Miser Energy Usage - Off)*Number of Monitors
Total Miser Energy Usage |  | 0 | kw hrs
Calculate Yearly Miser Energy Cost = Yearly Miser Energy Usage* Energy Costs
Total Miser Energy Cost |  | 0
Monitor Miser Energy Usage - Category III
Calculate Yearly Power On Hours of Miser = 52*(Usage/week) | [5 empty] | Calculate Yearly Power Off Hours (POFH) of Miser = 52*(POH/week-Usage/week)
Miser Power On Hours/Yr |  | 0 | hrs |  |  | Miser Power Off Hrs/Yr |  | 0 | hrs
Calculate Yearly Energy Usage = Power Usage of Miser (On) * Yearly POH/1000 | [5 empty] | Calculate Yearly Energy Usage = Power Usage of Miser(Off) * Yearly POFH/1000
Miser Energy/Yr |  | 0 | kw hrs |  |  | Miser Energy/Yr |  | 0 | kw hrs
Calculate Yearly Energy Usage = (Miser Energy Usage - On + Miser Energy Usage - Off)*Number of Monitors
Total Miser Energy Usage |  | 0 | kw hrs
Calculate Yearly Miser Energy Cost = Yearly Miser Energy Usage* Energy Costs
Total Miser Energy Cost |  | 0
Calculations of Yearly Energy Analysis - All PC's
Calculate Present Energy Costs for All PC's = Sum of Present Total Energy Costs for Categories I, II & III
Present Energy Costs - All PC's |  |  | 567.84 |  |  |  | Enter Results in "Present Energy Costs/Yr" Cell
Calculate Projected Energy Costs for All PC's = Sum of Projected Total Energy Costs for Categories I, II & III
Projected Energy Costs - All PC's |  |  | 236.6 |  |  |  | Enter Results in "Projected Energy Costs/Yr" Cell
Calculate kWh Savings = kWh Use Before OfficeMiser - kWh Use After OfficeMiser
OfficeMiser kWh Saved |  |  | 5096 |  |  |  | Enter Results in "kWh Saved/Yr" Cell
Calculate Miser Energy Costs for All PC's = Sum of Miser Energy Costs for Categories I, II & III
Monitor Miser Energy Costs - All PC's |  |  | 0.26144 |  |  |  | Enter Results in "Monitor Miser Energy Costs/Yr" Cell
Calculate Total Energy Cost Savings = Present Energy Costs - (Projected Energy Costs + Miser Energy Costs)
Total Energy Cost Savings |  |  | 330.9786 |  |  |  | Enter Results in " Total Energy Cost Savings/Yr" Cell
Calculate % Energy Savings
% Energy Savings |  |  | 58.33% |  |  |  | Enter Results in "% Energy Savings" Cell
Calculate Energy Cost Savings per Monitor = Total Energy Cost Savings/Number of Monitors
Energy Cost Savings per Monitor |  |  | 33.0979 |  |  |  | Enter Results in "Energy Cost Savings per Monitor/Yr" Cell
Calculation of Financial Analysis
1 Year Final Analysis
Calculate Payback in Months = (Total Investment /Total Energy Cost Savings)*12
Payback in Months |  | 28.6423
Calculate Net 1 Year Savings = Total Energy Cost Savings (for 1 Year) - Investment | [6 empty] | Enter Results in "1 Year Financial Analysis" Cell
Net 1 Year Savings |  | -459.0214
Calculate return on Investment = Total Energy Cost Savings (for 1 Year)/Investment
Return on Investment |  | 41.9%
2 Year Final Analysis
Calculate Net 2 Year Savings = Total Energy Cost Savings (for 1 Year) * 2 - Investment
Net 2 Year Savings |  | -128.0429 |  |  |  |  | Enter Results in "2 Year Financial Analysis" Cell
Calculate return on Investment = Total Energy Cost Savings (for 1 Year)*2/Investment
Return on Investment |  | 83.79%
3 Year Final Analysis
Calculate Net 3 Year Savings = Total Energy Cost Savings (for 1 Year)*3 - Investment
Net 3 Year Savings |  | 202.9357 |  |  |  |  | Enter Results in "3 Year Financial Analysis" Cell
Calculate return on Investment = Total Energy Cost Savings (for 1 Year)*3/Investment
Return on Investment |  | 125.7%